## Sheet1
Pump Information | Shaft |  | Manufacturer | Approved |  | Shop or Serial No | Model Number
| true | Horizontal | Kroger |  | Yes | K-GROO321 | RG1203
| false | Vertical |  |  | No
| Flow Rate |  | Rated Head/Foot |  | Net Pressure |  | Rated RPM
| 1500 | GPM | 100 | PSI | 85 | PSI | 1775 | RPM
Driver
very Le Grand Fromage thing
Not Broken Anymore
Controller
Groups not yet implemented
1 | 2020-10-28 | 7 | 3.1415
Manual Table
rpm | discharge | suction | net | no | size | pitot | gpm | percent | voltage | amp
1791 | 110 | 10 | 100 | 0 | Churn |  | 0 | 0 | 477,476,477 | 56,55,56
1789 | 106 | 5 | 101 | 3 | 2.5 | 7.6 | 1500 | 100 | 479,475,475 | 90,86,91
1777 | 96 | 6 | 91 | 3 | 2.5 | 17 | 2250 | 150 | 477,475,474 | 118,115,118