## Report
Device Magic Fire Safety Inc
One Glenwood Ave, Raleigh, North Carolina, 27603 • OFFICE (855) 257-9650 • support@devicemagic.com
| Report To: | {{fields.Report_To}} | [12 empty] | Location Inspected: | {{fields.Location_Inspected}}
| Street: | {{fields.Street}} | [12 empty] | Inspector's Name: | {{fields.Inspector_Name}}
| City: | {{fields.City}} |  |  |  | State: | {{fields.State}} |  | Zip: | {{fields.Zip}} |  |  |  |  | Inspection Date: | {{fields.Inspection_Date}}
| Attn: | {{fields.Attn}} | [12 empty] | Inspection Contract: | {{fields.Inspection_Contract}}
| Phone: | {{fields.Phone}}
PUMP INFORMATION |  |  | Shaft |  |  | Manufacturer |  |  | Approved |  | Shop or Serial # |  |  |  | Model Number
|  |  |  | Horizontal |  | {{fields.Pump_Information[0].Manufacturer}} |  |  |  | Yes | {{fields.Pump_Information[0].Pump_Shop_or_Serial}} |  |  |  | {{fields.Pump_Information[0].Pump_Model_Number}}
|  |  |  | Vertical |  |  |  |  | X | No
|  |  | Gallons/Minute |  | Rated Head/Ft |  | Net |  | Rated RPM |  | pond |  | Size Conn |  | Tank Supply |  | Tank Height
|  |  | 1500 | GPM | 100 | PSI | 85 | PSI | 1775 | RPM | No | No | 8 | Inch | Yes | Yes | 32 | Feet
DRIVER |  |  | Manufacturer |  |  | Approved |  |  | Shop or Serial # |  |  | Model Number |  |  | Horsepower |  | Rated RPM
|  |  | {{fields.Pump_Information[0].Driver[0].Driver_Manufacturer}} |  |  | X | Yes |  | {{fields.Pump_Information[0].Driver[0].Driver_Shop_or_Serial}} |  |  | {{fields.Pump_Information[0].Driver[0].Driver_Model}} |  |  | 100 | HP | 1775 | RPM
[6 empty] | X | No
|  |  | Electric M |  | Rated Volts |  | Oper Volt |  | Rated Amps |  | Amps @ 150 |  | Phase |  | Cycles |  | Service Factor
|  |  |  | Elec |  | DC |  | DC |  | Amps |  | Amps |  | Phase |  | Hz |  | DC
CONTROLLER |  |  | Manufacturer |  |  | Approved |  | Start |  | 102 | Psi | Stop |  | Psi |  | Jockey Pump
|  |  | {{fields.Pump_Information[0].Controller[0].Controller_Manufacturer}} |  |  | X | Yes | [8 empty] | PSI
[6 empty] | X | No |  | X | Manual |  | X | Manual |  |  |  | X | Yes
|  |  | Shop or Serial No |  |  | Model Number |  |  | X | Pressure Drop |  | X | Auto |  |  |  |  | No
|  |  | {{fields.Pump_Information[0].Controller[0].Controller_Shop_Or_Serial}} |  |  | FD30-100D-LMR-L1-X1 |  |  | X | Auto | [6 empty] | 120 | Off
[9 empty] | X | Waterflow | [6 empty] | 90 | On
Revolutions |  | Discharge |  | Suction |  | Net |  | Streams |  |  | GPM | % | Voltage |  | Amp Reading |  | Steam Press
Per/minute |  | Pressure |  | Pressure |  | Pressure |  | No | Size | Pitot# | [6 empty] | Thrott | Chest
| RPM | {{fields.Pump_Data[0].Discharge_Pressure___0_}} | Psi | {{fields.Pump_Data[0].Suction_Pressure___0_}} | Psi | {{fields.Pump_Data[0].Net_Pressure___0_}} | Psi | 0 | Churn |  | 0 | 0
| RPM | {{fields.Pump_Data[0].Discharge_Pressure___100_}} | Psi | {{fields.Pump_Data[0].Suction_Pressure___100_}} | Psi | {{fields.Pump_Data[0].Net_Pressure___100_}} | Psi | {{fields.Pump_Data[0].Streams_100}} | 2.5 | {{fields.Pump_Data[0].Pitot_100}} | {{fields.Pump_Data[0].GPM_100}} | 100
| RPM | {{fields.Pump_Data[0].Discharge_Pressure___150_}} | Psi | {{fields.Pump_Data[0].Suction_Pressure___150_}} | Psi | {{fields.Pump_Data[0].Net_Pressure___150_}} | Psi | {{fields.Pump_Data[0].Streams_150}} | 2.5 | {{fields.Pump_Data[0].Pitot_150}} | {{fields.Pump_Data[0].GPM_150}} | 150
Inspector Signature: | [11 empty] | Form Name: |  |  | {{form_name}}
[12 empty] | Submitted Date: |  |  | {{submitted_at}}
[12 empty] | Submitted By: |  |  | {{submitted_by}}

## Data
% | Discharge Pressure | Suction Pressure | Net Pressure | Original
0% | {{fields.Pump_Data[0].Discharge_Pressure___0_}} | {{fields.Pump_Data[0].Suction_Pressure___0_}} | {{fields.Pump_Data[0].Net_Pressure___0_}} | {{fields.Pump_Data[0].Original___0_}}
100% | {{fields.Pump_Data[0].Discharge_Pressure___100_}} | {{fields.Pump_Data[0].Suction_Pressure___100_}} | {{fields.Pump_Data[0].Net_Pressure___100_}} | {{fields.Pump_Data[0].Original___100_}}
150% | {{fields.Pump_Data[0].Discharge_Pressure___150_}} | {{fields.Pump_Data[0].Suction_Pressure___150_}} | {{fields.Pump_Data[0].Net_Pressure___150_}} | {{fields.Pump_Data[0].Original___150_}}